## Slide 1: 3D Printing a Spectrograph
Jerrold Foote
Washington, UT
Forrest Sims
Gilbert, AZ
Anthony Rodda
Ponteland, UK
Paul Gerlach
Ultrecht, The Netherlands
Thomas Smith
Weed, NM
Wayne Green
Boulder, CO
Clarke Yeager
Longmont, CO
Robert Buchheim
Phoenix, AZ

## Slide 2: The Project
3D Print a Spectrograph with these capabilities:
R=1000 with possible operation at R=10,000
Modifiable for use with f/5 – f/10 optics
Adjustable camera focus
Built in flat and calibration lamps
Remote Operation
Off-the shelf components

## Slide 3: The Approach
Start with Paul Gerlach’s LowSpec2
Utilize personal 3D printers
Use on-line tools for collaboration
Hold regular meetings to exchange ideas
Provide a repository for modified parts
Have fun!

## Slide 4: LowSpec2 Optical Layout
Telescope
Port
Collimating
Lens
Grating
Camera
Lens
Spectra
Camera port
Slit Holder
Guider Port

## Slide 5: LowSpec2 Optical Layout
A-Autoguider Lens f=30mm
B- Guide mirror
C- Slit wheel
D-Incoming beam mirror
E- Collimator Lens f=125mm
F- Grating
G- Camera Lens f=100mm

## Slide 6: Camera Focus Wavelength Micrometer Guide Camera port

## Slide 7: Science Camera Port

## Slide 8: The Printers
Relative Inexpensive <$500
Working volume of 200 x 200 x 200mm
0.1mm thick layers with 0.4mm trace width
Use Fused Deposition Modeling Process
Start with PLA and move to better materials

## Slide 9: Our Printers
Ender 3 Pro
Wanhao i3 Plus
Home made
Crealty CR10

## Slide 10: Printing a T2 adapter

## Slide 11: Nozzle Printing a Layer

## Slide 12: Process
Design Part
SolidWorks
Fusion 360
TinkerCAD
123DDesign
Slice Part
Ultimaker Cura
Print Part
Ender 3
Wanhao i3
CR-10
.STL File
G- Code

## Slide 13: Part Design
SolidWorks (Parametric)

## Slide 14: Slicing Software
Cura 4.0
Generate G-Code for printer

## Slide 15: Layer 1 00:00 hr

## Slide 16: Layer 60 05:54 hr

## Slide 17: Layer 90 08:54 hr

## Slide 18: Layer 150 14:48 hr

## Slide 19: Layer 300 29:49 hr

## Slide 20: Layer 400 39:27 hr

## Slide 21: Layer 525 52:01 hr

## Slide 22: Layer 586 58:00 hr

## Slide 23: Design Issues
Thermal Stability
Flexure
Material
Light Tight
Adjustments
Calibration

## Slide 24: Thermal Stability > 23°C shift during night
Focus
Guide camera
Science camera
Wavelength

## Slide 25: Flexure
Thick sections
Fillets in corners
Close coupling to telescope and cameras
Material

## Slide 26: Material
PLA
Easy to print
Low shrinkage
Softens at 55°C
ABS
Good to 90°C
More shrinkage
Not UV resistant
ASA
Stiffer than PLA
UV resistant
More shrinkage
PETG + C
Low shrinkage
UV resistant
High print temp.
Nylon + C
Low thermal expansion
Very stiff
Abrasive printing

## Slide 27: Light Tight
Internal reflections
Stray light leaks
Material
Coating

## Slide 28: Adjustments
Guide camera focus: Set & Forget
Slit width: 10,20,30,40,50,70,100,
150,200,300,500,700µm
Science camera focus: ±0.1mm, Range 6mm
Center wavelength: 300 – 1800 l/mm

## Slide 29: Calibration
Flats – Tungsten lamp
External to telescope
Internal to spectrograph

## Slide 30: Calibration
Wavelength
Neon

## Slide 31: Calibration
Wavelength
“RELCO Starter”

## Slide 32: Calibration
Wavelength
Xenon

## Slide 33: Focal Ratio Modification
Low resolution mode R ≈1000 : f/5, 300 l/mm
High resolution mode R>10,000 : f/10 1800 l/mm

## Slide 34: Remote Operation
Spectrograph rotation (Parallactic Angle)
Motorized science camera focus
Motorized grating tilt
Internal slit illumination
Flat field illumination
Calibration illumination

## Slide 35: Remote Operation

## Slide 36: What can you do with it?
General Classification
Planetary Nebulae
Novae & Supernovae
Seyferts & Quasars
Be Stars
P Cygni Stars
RR Lyra Stars
Miras
T Tauri Stars
Symbiotic Stars
Cataclysmic Stars
Wolf-Rayet Stars
Comets

## Slide 37: Future 3D Spectrographs
LowSpec2 improvements
Littrow design: John Pereskeva
Tragos: Tony Rodda/Vadim Burwitz CAOS
Czerny-Turner: Christian Buil

## Slide 38: Collaboration
Weekly Video Conferencing – Zoom
Recorded and Saved

## Slide 39: Collaboration
Repository – GitHub
Modified parts
Print notes
Projects

## Slide 40: Sources
3D printer review and all things 3D https://all3dp.com/
LowSpec2 https://www.thingiverse.com/thing:2455390
Optical Components https://www.thorlabs.com/
Remote operation Arduino : https://www.arduino.cc/
Shelyak Instrumants: https://www.shelyak.com/?lang=en
Zoom: https://zoom.us/
GitHub: https://github.com/
Cochard, Francois (2018) Sucessfully Starting in Astronomical Spectroscopy , France, EDP Sciences
Many more in the Proceedings

## Slide 41: Questions