## Sheet1
Guide camera field of view |  |  | =input
Telescope Aperture Diameter (mm) | Telescope Focal Ratio | Telescope Focal Length (mm) | Plate Scale (Arc-sec/mm) | Plate Scale (degrees/mm)
355 | 8 | 2840 | 72.6285 | 0.020175
Guide Lens focal length (mm) | Distance to slit (mm) | Distance to Guide Camera (mm) | Guide Camera CCD width (mm) | FOV of Guide camera (minutes) | FOV of guide camera (arc-seconds)
30 | 60 | 60 | 10 | -12.1048 | -726.2852
Slit Width (micron) | Guide Camera Pixel dimension (micron) | Slit width as seen by guide camera (pixels) | Slit height as seen by guide camera (mm)
23 | 8.6 | 2.6744 | 10